SECTION 08620

MODEL (TBVVAPN) PLASTIC GLAZED SKYLIGHTS

THERMALIZED BARREL VAULT / VERTICAL ENDS / LUMIRA LAYLITE

PART 1-GENERAL

  - SUMMARY

- This section includes the following:

  - Curb-mounted plastic glazed barrel vault skylights.

    - TBVVAPN model, double dome acrylic, multiwall flat panel filled with Lumira™ aerogel, thermalized, barrel vault, with vertical ends.

    - TBVVPAPN model, double dome polycarbonate, multiwall flat panel filled with Lumira™ aerogel, thermalized, barrel vault, with vertical ends.

- Related Sections:  The following sections contain requirements that relate to this section:

  - Division 6 Section Rough Carpentry for wood curbs and nailers.

  - Division 7 Section Roof Accessories for curbs, roof hatches, and smoke vents.

  - Division 7 Section Flashing and Sheet Metal for metal flashing for skylights.

  - Division 8 Section Plastic Glazing

C.  Refer to roofing system sections for roofing accessories to be built into the roofing system to accommodate work of this section.

  - PERFORMANCE REQUIREMENTS

- General:  Provide unit skylights capable of withstanding loads as defined by the local codes having jurisdiction where units are to be installed without failure.

- Structural Performance: Provide metal-framed skylights, including anchorage, capable of withstanding design pressure indicated without material and deflection failures and permanent deformation of structural members exceeding 0.2 percent of span when tested according to ASTM E 330-97.

  - Design Test Pressure: 40 PSF positive and 40 PSF negative.

- Air Infiltration: Provide metal-framed skylights with maximum air leakage of 0.09 scfm/sq. ft. of surface when tested according to ASTM E 283-91 at a minimum static-air-pressure differential of 6.20psf.

- Water Penetration: Provide metal-framed skylights that do not evidence water penetration when tested according to ASTM E 331-00 and E 547-00 at a minimum differential static pressure of 20 percent of positive design wind load, but not less than 8psf.

1.3   SUBMITTALS

- Product Data Sheet:  For each type of skylight specified, include details of construction and installation, relative to applicable curb configuration.

- Samples for Selection:  Manufacturer’s color charts showing a full range of colors available for each type of skylight glazing and Aluminum Finish.

  - QUALITY ASSURANCE

- Fire-Test-Response Characteristics:  Provide glazing fabricated from sheets identical to those tested for the following fire-test-response characteristics, per ASTM test method indicated below, by UL or other testing and inspecting agencies acceptable to authorities having jurisdiction.  Identify plastic sheets with appropriate markings of applicable testing and inspecting organization.

  - Continuous Cast Acrylic:

    - Self-Ignition Temperature:  833 deg F when tested per ASTM D 1929 on plastic sheets in the thickness intended for use.

    - Smoke density of 3.4% when tested per ASTM D 2843 on plastic sheets in the thickness intended for use.

    - Relative- Burning Characteristics:  As follows, when tested per ASTM D 635:

      - Burning rate of 1.019 inches (30 mm) per minute or less when tested with a nominal thickness of 0.118 inches (2.3 mm).

  - Impact Modified Resist65 Continuous Cast Acrylic:

    - Self-Ignition Temperature:  750 deg F (399 deg C) or greater when tested per ASTM D 1929 on plastic sheets in the thickness intended for use.

    - Smoke density of 3.8% or less when tested per ASTM D 2843 on plastic sheets in the thickness intended for use.

    - Relative- Burning Characteristics:  As follows, when tested per ASTM D 635:

      - Burning rate of 1.4 inches (36 mm) per minute or less when tested with a nominal thickness of 0.060 inches (1.5 mm).

  - Monolithic Polycarbonate:

    - Self-Ignition Temperature:  650 deg F (343 deg C) or greater when tested per ASTM D 1929 on plastic sheets in the thickness intended for use.

    - Smoke developed index not greater than 450 where tested in the manner intended for use in accordance with ASTM E 84 or UL 723, or a maximum average smoke density rating not greater than 75 where tested in the thickness intended for use in accordance with ASTM D 2843.

      - Relative- Burning Characteristics:  Burning extent of 1 inch (25mm) or less where tested at a nominal thickness of 0.060 inch (1.5mm), or in the thickness intended for use in accordance with ASTM D 635.

  - Flat cellular polycarbonate panel fabricated from an approved cellular polycarbonate glazing (light transmitting) material identical to that tested with a CC1 fire rating classification per ASTM D-635 and filled with Lumira™ aerogel insulation in the thickness (16mm) intended for use.

    - Self-Ignition Temperature: 1110º F (599 deg. C) or greater when tested per ASTM 1929 on multi-wall cellular panel filled with Lumira™ aerogel insulation in the thickness (16mm) intended for use.

    - Smoke density value of 40-73 when tested per ASTM D 2843.

  - WARRANTY

- General:  Warranties specified in this section shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and shall be in addition to and run concurrent with other warranties made by the Contractor under requirements of the Contract Documents.

- Skylight Warranty:  Provide written warranty signed by manufacturer, agreeing to repair or replace work that exhibits defects in materials or workmanship and guaranteeing weather-tight and leak-free performance.  “Defects” is defined as uncontrolled leakage of water and abnormal aging or deterioration.

  - Warranty Period:  2 years from date of Substantial Completion.

- Plastic Warranty:  Provide written warranty signed by manufacturer agreeing to repair or replace work that has or develops defects in the plastic.  “Defects” is defined as abnormal aging or deterioration.

  - Warranty Period for Acrylic/Polycarbonate:  2 years from date of Substantial Completion against yellowing.

- Finish Warranty:  Provide written warranty signed by manufacturer agreeing to repair or replace work with finish defects.  “Defects” is defined as peeling, chipping, chalking, fading, abnormal aging or deterioration, and failure to perform as required.

  - Warranty Period for Anodized Finish:  1 year from date of Substantial Completion.

  - Warranty Period for Powder Coat Finish:  5 years from date of Substantial Completion.

  - Warranty Period for Kynar 500 Finish:  5 years from date of Substantial Completion. (10 and 20 years available if specified)

PART 2- PRODUCTS

  - MANUFACTURER

- Manufacturer:  Subject to compliance with requirements, provide products by Wasco Skylights, part of the Velux Group, Wells, ME (800-388-0293).

- Substitutions:  Manufactures shall not be considered without prior approval in writing no later than ten (10) calendar days prior to bid.  Substitute manufacturers must have been in the custom skylight business for not less than a period of 15 years and must submit to the Architect the following:

  - List of similar projects successfully completed within the last five years.

  - Proof of financial capability.

  - Complete details of proposed skylight.

  - Complete specifications for Architect’s review.

  - MATERIALS

- Curb Frame:  Extruded aluminum alloy 6063-T5 (min.) ASTM B 221 (ASTM B 221 M) with minimum effective thickness of .090 inches. Provide integral condensation gutter system with corners fully welded for waterproof quality. Curb frame to have glass fiber reinforced polymer thermal break.

  - Poured and de-bridged polyurethane thermal breaks are not acceptable

- Retainer Frame:  Extruded aluminum alloy 6063-T5 (min).  ASTM B 221 (ASTM B 221 M) with minimum effective thickness of 0.60 inches.

- Pressure Caps: Extruded aluminum alloy 6063-T5 (min).  ASTM B 221 (ASTM B 221 M) with minimum effective thickness of 0.100 inches.

- Plastic Sheets:  Monolithic, sheets with good weather and impact resistant.

  - Acrylic: (Continuous cast acrylic) or (Impact modified continuous cast acrylic) sheet, thermo-formable, and cold formable acrylic (methacrylate), Category C-2 or CC-2 Type UVA (formulated with ultraviolet absorber), with Finish 1 (smooth or polished), unless otherwise indicated.

  - Polycarbonate: Category C-1 or CC1 weatherable monolithic sheet coated for UV protection.

  - Multiwall polycarbonate flat panel filled with Lumira™ aerogel.

- Thermal Break:  Glass fiber reinforced polymer separating interior metal framing from materials exposed to outside temperature.

  - Poured and de-bridged polyurethane thermal breaks are not acceptable.

- Fasteners:  Same metal as metals being fastened, or nonmagnetic stainless steel or other non-corrosive metal as recommended by Wasco Products, Inc.

- Bituminous Coating:  SSPC-Paint 12, solvent-type, bituminous mastic, nominally free of sulfur and containing no asbestos fibers, compounded for 15-mil (0.4 mm) dry film thickness per coating.

  - PLASTIC BARREL VAULT SKYLIGHT

- General:  Factory-assembled or knocked down, curb-mounted unit consisting of cast acrylic glazing, gasketing, inner frame designed to mount on separate curb, and self-contained flashing.

  - Products:  Provide model TBVVAPN / TBVVPAPN meeting the requirements of this section.

- Curb: Minimum 3 ½” wide field built (By Others).

- Condensation Control:  Fabricate skylight units with integral internal gutters and weeps to collect and dispose of condensation beyond the outside of support curb.

- Shape and Size:  As indicated on project drawings.

- Glazing:  Outer (Continuous cast acrylic), (Impact modified continuous cast acrylic) or (polycarbonate).  (clear, white, bronze).  (EDIT AS REQUIRED)

- Glazing:  Inner (Continuous cast acrylic), (Impact modified continuous cast acrylic) or (polycarbonate).  (clear, white).  (EDIT AS REQUIRED)

- Laylite: Clear flat multiwall polycarbonate panel filled with Lumira™ aerogel.

  - FALL PROTECTION SAFETY SCREENS (Optional)

- Screen:  Welded steel wire mesh, 4” x 4” spacing, wire diameter - .188” min. hot dipped galvanized finish on carbon steel or unfinished stainless steel.

- Frame:  Extruded aluminum alloy 6063-T5 (min).  ASTM B 221 (ASTM B 221 M) with minimum effective thickness of 0.090 inch (2.2 mm).

  - Frame includes a pocket for the edges of the screen material, and a downward leg for attachment to any vertical surface of a skylight retainer or frame.

- Adjustment Bar:  Extruded aluminum bar stock, ¼” x 1”, alloy 6063-T5 (min).  ASTM B 221 (ASTM B 221 M).

  - Adjustment bar is slotted for width adjustment in the field.

- Fasteners:  Nonmagnetic stainless steel or other non-corrosive metal as recommended by manufacturer.

  - FABRICATION

- Framing Components:  As follows:

1.    Factory fit and assemble components.

  - Fabricate components that, when assembled, will have accurately fitted joints with ends coped or mitered to produce hairline joints free of burrs and distortion.

  - Fabricate components to drain water passing joints and to drain condensation and moisture occurring or migrating within skylight system to the exterior.

  - Fabricate components to accommodate expansion, contraction, and field adjustment, and to provide for minimum clearance and shimming at skylight perimeter.

  - Form shapes with sharp profiles, straight and free of defects or deformations, before finishing.

  - Fit and secure joints by heliarc welding.

  - ALUMINUM FINISHES (EDIT AS REQUIRED)

- General:  Comply with NAAMM “Metal Finishes Manual” recommendations for application and designations of finishes.

- Finish designations prefixed by AA conform to the system for designations of aluminum finishes established by the Aluminum Association.

  - Mill Finish:  Manufacturer’s standard mill finish.

  - Clear-Anodized Finish, Class I:  AA-C22A41 complying with AAMA 611.

  - Clear-Anodized Finish, Class II: AA-C22A31 complying with AAMA 611.

  - Color –Anodized Finish Class I:  AA-C22A42/A44 complying with AAMA 611.  Color:______________

  - Kynar Fluoropolymer Two-Coat System:  (70% PVDF) complying with AAMA 2605.  Color:______________ (3coat and 4 coat available)

  - Powder Coat High-Performance Architectural Coating: comply with AAMA 2604. Color:______________

PART 3- EXECUTION

  - EXAMINATION

- Examine substrates and conditions, with installer present, for compliance with requirements for installation tolerances and other conditions affecting skylight performance.

- Proceed with installation only after unsatisfactory conditions have been corrected.

  - PREPARATION

- Metal Protection:  As follows:

  - Where aluminum will contact dissimilar metals, protect against galvanic action by paining contact surfaces with primer or by applying sealant or tape recommended by manufacturer for this purpose.

  - Where aluminum will contact concrete or masonry, protect against corrosion by painting contact surfaces with bituminous paint.

  - Where aluminum will contact pressure-treated wood, separate dissimilar materials by methods recommended by manufacturer.

  - INSTALLATION

- General:  Comply with manufacturer’s written instructions for protecting, handling, and installing skylight components.

- Following manufacturer’s installations instructions and job specific drawings to ensure proper installation.

- Coordinate with installation of roof deck and other substrates to receive skylight units.

- Coordinate with installation of vapor barriers, roof insulation, roofing, and flashing as required to assure that each element of the work performs properly and that combined elements are waterproof and weather tight.  Anchor units securely to supporting structural substrates, adequate to withstand lateral and thermal stresses ass well as inward and outward loading pressures.

  - CLEANING AND PROTECTION

- Clean exposed metal and plastic surfaces according to manufacturer’s instructions.  Touch up damaged metal coatings.

- Final cleaning by others.

END OF SECTION